ab109202

DRAQ7TM 1ml (0.3mM) Protocol

Instructions for Use

This product is for research use only and is not intended for in vitro diagnostic use.

# Table of Contents

1.	Introduction	2

2.	Reagents Required	3

3.	Storage and Handling	3

4.	Overview: Use of DRAQ7™	3

5.	General Protocols	5

Protocol I: Apoptosis/ cell death by flow cytometry	5

Protocol II: Real-time cell viability assays	9

Protocol III: Immunofluorescence	13

6.	FAQ	16

# Introduction

DRAQ7™ is a cell impermeable far-red fluorescent DNA dye that only stains the nuclei in dead and permeabilized cells. It can be used in combination with common labels such as GFP or FITC.

DRAQ7™ is the ideal tool to study dead or membrane-compromised cells because it does not enter intact, live cells. DRAQ7™ is an ideal replacement for Propidium Iodide and 7-AAD having far better spectral properties; it has no UV excitation and no emission overlap with PE and homologues. DRAQ7™ can be used in flow cytometry, cell imaging and cell-based assays and is highly compatible with existing protocols across a wide range of instrumentation platforms.

Key features of DRAQ7™ include:

- Rapid staining of dsDNA/ nuclei of dead or permeabilized cells

- Low photobleaching effect

- It can be used in most cell types, eukaryotic and prokaryotic: mammalian, bacterial, parasitic, plant, etc ...

- No compensation needed with common FITC/GFP + PE combinations in flow cytometry

- No RNase treatment required

# Reagents Required

ab109202: DRAQ7™ 1ml (0.3mM)

Phosphate Buffered Saline (PBS), without sodium azide, or other culture medium

# Storage and Handling

Before handling ab109202 DRAQ7™ please read the MSDS supplied with the product.

Store product at 4°C in the dark. Do not freeze.

Undiluted product is stable for at least 3 years if kept under the recommended conditions. Diluted product should be used as soon as possible.

# Overview: Use of DRAQ7™

DRAQ7™ is added in the final staining step of a labeling procedure as there is no further washing step required.

The following chart gives an overview on where DRAQ7™ can be added depending on the type of experiment.

For analysis of apoptotic / membrane-compromised cells, do not permeabilize the cells before addition of DRAQ7™; otherwise the dye will stain all cells.

# General Protocols

Protocol I: Cell staining with DRAQ7™ for dead cell / apoptosis evaluation by flow cytometry.

This general protocol is a guideline, and we recommend adapting it to each user’s best protocol.

Surface antibodies and apoptosis indicators (such as Annexin V-FITC) can be use together with DRAQ7™. Simply incubate the cells with those products prior to the addition of DRAQ7™.

- Cell Preparation and Fixation

- Prepare cells for staining with DRAQ7™: centrifuge and resuspend cells in appropriate buffer such as PBS (or other culture media) at a concentration of ≤4 x 105 cells/ml in a test tube.

- For cells requiring additional fluorescent staining (either conjugated-primary antibody or primary and secondary antibody), perform the immunostaining at this step. Wash thoroughly after antibody incubation.

- Cell Staining

- Add DRAQ7™ directly as supplied to a final concentration of 3µM to the cells. Alternatively, DRAQ7™ can be added to the fresh buffer/ media prior to resuspending the cells in it.

- Gently mix the cells by pipetting and then incubate for 5 – 30 minutes at room temperature.

DRAQ7™ staining is accelerated at 37°C and incubation time may be reduced but this should be checked by titration and for each cell type.

Note: Protect cells from light during incubation period if other fluorescent stains (such secondary antibodies) have been applied to the cells, as they may otherwise suffer photo-bleaching.

- Cells can be analyzed directly without further treatment or washing, preferably within two hours.

- Data Analysis

It is important to consider the combinations of fluorochromes and filters for the experiments.

EXCITATION:

In flow cytometry, DRAQ7™ may be excited by wavelengths from 488 nm and up to 647 nm (Exλmax 646 nm).

Despite low absorbance at 488 nm, this excitation offers optimal CVs for flow cytometry cell cycle analysis and convenient combination with FITC and R-PE conjugates and eGFP.

EMISSION:

Emission starts at 655 nm (Emλmax 681 nm/ 697 nm dsDNA-bound).

Suitable filters include 695LP, 715LP or 780 LP.

For cell cycle analysis it is recommended to choose a filter (such as 715LP) which excludes a significant proportion of signal from the small fraction of unbound DRAQ7™.

- ANALYSIS BY FLOW CYTOMETRY: what you should expect to see

- To establish the position of DRAQ7™ (+) cells a control experiment may be performed:

- Analyze untreated, unstained control cells, plotting the results as an intensity histogram, exciting/detecting in all available channels to determine the negative event distribution and any bio-fluorescence.

- Analyze treated, unstained cells similarly.

- Based on both samples, adjust the instrument settings to place the negative population in the first log decade.

- Add DRAQ7™ to a new aliquot of untreated control cells according to the protocol.

- Split the aliquot in half, analyzing one half to establish the position of the DRAQ7™ (-) cells.

- Permeabilize the remaining half of the aliquot of untreated control cells (prepared in Step 4) with the addition of 1% Triton-X100, vortex to mix and analyze to establish the position of DRAQ7™ (+) cells (i.e. membrane-compromised cells).

Alternatively, add DRAQ5™ (ab108410) at 20µM and incubate for 10 minutes at 37°C. The position of DRAQ5™ (+) events is the upper limit for the DRAQ7™ (+) event signal.

These control experiments should allow setting of DRAQ7 (-) / DRAQ7 (+) gates.

Remove doublets and clumps by plotting DRAQ7™ peak height/ width versus DRAQ7™ peak area.

For cell cycle/ ploidy analysis, plot DRAQ7™ signals in linear mode.

Protocol II: Use of DRAQ7™ in real-time, dynamic cell viability assays.

DRAQ7™ has been shown not to have any effect on the proliferation rate of cells in long-term culture assays.

DRAQ7™ can therefore be used to report, in real-time, the cytotoxic or apoptotic-effect of a specific treatment on cells.

For example, DRAQ7™ can be used to study the effect of:

A pharmacological agent

RNAi

Virus

Antibody-dependent complement-mediated killing

In vitro toxicology testing

This general protocol is a guideline, and we recommend adapting it to each user’s best protocol.

- Cell Preparation and Staining

- Prepare cells for experiment according to your protocol.

- Treat cells as required for your protocol.

- DRAQ7™ is supplied ready-to-use.

- Add directly to the cell culture media at a final concentration of 3µM (1/100 dilution).and mix gently.

- Remove aliquots as required and analyze for far-red (> 665 nm) fluorescing cells (relative to controls) by flow cytometry.

- Normal cells will not need to be washed prior to analysis.

- Alternatively, cells on microplates/ slides can be fixed at the required time points for the experiment and analyzed by cell imaging microscopy.

- Data Analysis

It is important to consider the combinations of fluorochromes and filters for the experiments.

EXCITATION:

In flow cytometry, DRAQ7™ may be excited by wavelengths from 488 nm and up to 647 nm (Exλmax 646 nm).

Despite low absorbance at 488 nm, this excitation offers optimal CVs for flow cytometry cell cycle analysis and convenient combination with FITC and R-PE conjugates and eGFP.

For cell imaging, DRAQ7™ excitation (Exλmax 599/ 644 nm) is performed with either 633 nm or 647 nm wavelengths.

EMISSION:

Emission starts at 655 nm (Emλmax 681 nm/ 697 nm dsDNA-bound).

Suitable filters include 695LP, 715LP or 780 LP.

For cell cycle analysis in flow cytometry it is recommended to choose a filter (such as 715LP) which excludes a significant proportion of signal from the small fraction of unbound DRAQ7™.

In cell imaging, DRAQ7™ has no spectral emission overlap with FITC, R-PE, GFP, DyLight® 488 or many other fluoresceing proteins allowing image acquisition in one scan.

- ANALYSIS BY FLOW CYTOMETRY: what you should expect to see

- To establish the position of DRAQ7™ (+) cells a control experiment may be performed:

- Analyze untreated, unstained control cells, plotting the results as an intensity histogram, exciting/detecting in all available channels to determine the negative event distribution and any bio-fluorescence.

- Analyze treated, unstained cells similarly.

- Based on both samples, adjust the instrument settings to place the negative population in the first log decade.

- Add DRAQ7™ to a new aliquot of untreated control cells according to the protocol.

- Split the aliquot in half, analyzing one half to establish the position of the DRAQ7™ (-) cells.

- Permeabilize the remaining half of the aliquot of untreated control cells (prepared in Step 4) with the addition of 1% Triton-X100, vortex to mix and analyze to establish the position of DRAQ7™ (+) cells (i.e. membrane-compromised cells).

Alternatively, add DRAQ5™ (ab108410) at 20µM and incubate for 10 minutes at 37°C. The position of DRAQ5™ (+) events is the upper limit for the DRAQ7™ (+) event signal.

These control experiments should allow setting of DRAQ7 (-) / DRAQ7 (+) gates.

Remove doublets and clumps by plotting DRAQ7™ peak height/ width versus DRAQ7™ peak area.

For cell cycle/ ploidy analysis, plot DRAQ7™ signals in linear mode.

Protocol III: Fixed cell/ tissue staining with DRAQ7™ for nuclear visualization by epifluorescence microscopy / laser scanning confocal or HCS imaging platform.

This general protocol is a guideline, and we recommend adapting it to each user’s best protocol.

DRAQ7™ is an ideal far-red counterstain for IF/IHC assays. It stains nucleus and cytoplasm differentially and it is spectrally compatible with all visible range fluors.

DRAQ7™ will stain all fixed and permeabilized cells in the preparation.

- Cell Preparation and Fixation

- Prepare cells for fixation.

- Prepare working solutions of:

4% formaldehyde in PBS

5µM DRAQ7™ solution in PBS

- Fix cells by overlaying the slide (or chamber/ well) with the 4% formaldehyde solution. Incubate for 15 – 30 minutes at room temperature / 37°C.

- Gently aspirate the formaldehyde solution and wash the slide with PBS.

- For cells expressing fluorescent proteins (e.g. GFP/YFP-tagged proteins), DRAQ7™ can be mixed with formaldehyde fixative to provide a one step “fix/permeabilize & stain” protocol. To prepare, mix equal volumes of 10µM DRAQ7™ and 8% formaldehyde.

- For cells requiring indirect immunostaining (primary and / or secondary antibody), block and permeabilize according to your favorite protocol. Wash thoroughly after antibody incubation.

- Cell Staining

- Overlay the sample with the 5µM DRAQ7™ solution. Alternatively, DRAQ7™ can be added to the fresh buffer/ medium prior resuspending the cells in it.

- Gently mix the cells by pipetting and then incubate for 5 – 30 minutes at room temperature.

DRAQ7™ staining is accelerated at 37°C and incubation time may be reduced but this should be checked by titration and for each cell type.

Note: Protect cells from light during incubation period if other fluorescent stains (such secondary antibodies) have been applied to the cells, as they may otherwise suffer photo-bleaching.

- Cells can be analyzed directly without further treatment or washing, preferably within two hours.

- Data Analysis

It is important to consider the combinations of fluorochromes and filters for the experiments.

EXCITATION:

For cell imaging, DRAQ7™ excitation (Exλmax 599/ 644 nm) is performed with either 633 nm or 647 nm wavelengths.

EMISSION:

Emission starts at 655 nm (Emλmax 678 nm/ 694 nm intercalated to dsDNA).

Suitable filters include 695LP, 715LP or 780 LP.

DRAQ7™ has no spectral emission overlap with FITC, R-PE, GFP or many other fluorescing proteins allowing image acquisition in one scan.

# FAQs

- In which type of cells can I stain with DRAQ7™?

- DRAQ7™ is a DNA-specific anthraquinone dye which derives from DRAQ5™ (ab108410) and will therefore stain all nucleated cells. DRAQ7™ will not only stain all type of nucleated eukaryotic cells (primary or cell-line derived), but also bacterial cells (such as E. coli or Bacillus) and plant cells.

- However, DRAQ7™ does not enter live, intact cells. DRAQ7™ will only stain cells whose membrane is compromised, either naturally (apoptotic cells) or artificially (fixed and permeabilized).

- In which type of assays can I use DRAQ7™?

- DRAQ7™ can be used assays where nuclear DNA staining is required.

- Examples of these assays are:

Cell imaging:

  - Apoptosis studies: dead or membrane-compromised cells

  - Fixed & permeabilized cells (primary or cell-line derived) or tissue sections

  - Fixed & permeabilized tissue sections

Fluorescence In Situ Hybridization (FISH)

Flow Cytometry:

  - Apoptosis detection

  - Dead cell gating

Cell-based HCS assays

  - Cytotoxicity/ viability assays

- If DRAQ7™ doesn’t stain live healthy cells, how can I use it in real-time viability assays?

- DRAQ7™ only enters cells with compromised cellular membranes. This means that, as long as the cell is healthy, DRAQ7™ will not enter the cell and will not bind the DNA and therefore won’t have any cytotoxic effect. DRAQ7™ is a very stable compound and can be used as “viability” dye over several days. Once the cells start to dye (either naturally or by cytotoxic treatment), DRAQ7™ will enter the cells and staining will be visible.

- Does DRAQ7™ stain mitochondria or RNA?

- DRAQ7™ has high specificity for dsDNA and doesn’t seem to bind to RNA. Although mitochondria contain dsDNA, no DRAQ7™ signals seem to be detected. This makes DRAQ7™ the ideal tool to study cell cycle profile, as all the signal will come from nuclear DNA.

- Why shouldn’t DRAQ7™-stained cells be washed?

- There is no need to wash cells for imaging or flow cytometry. DRAQ7™ binds stoichiometrically to the DNA and reaches an equilibrium, which could be disrupted by long washes.

- DRAQ7™ can be added at the final stage of the protocol prior analysis, as it will be able to stain the nucleus very quickly (5 minutes incubation is enough for staining). If washes are essential in protocol, we recommend very brief washes.

- Can I use DRAQ7™ with anti-fade mountants?

- Yes. DRAQ7™ is perfectly compatible with anti-fade mountants such as Fluoroshield (ab104135), BrightMount (ab103746) or BrightMount Plus (ab103748). Just ensure that the mountant is the “native” product and does not contain DAPI as the DAPI quenches the DRAQ7™ staining signal.

- Which fluorochromes can I use with DRAQ7™?

- DRAQ7™ emits in far-red end of the spectra and therefore is compatible with fluorochromes with emission spectra lower than 600nm.

- DRAQ7™ can be used with common labels such as eGFP/YFP, Cy2, FITC, Cy3, R-PE, and DyLight® 488, 550 and 594.

- We do not recommend the use of DRAQ7™ with other far-red fluorochromes excited by the 488 ot 633 nm laser lines, such as PE-Cy7, PerCP-Cy5.5, APC, Texas Red or DyLight® 650.

- How long can I keep my working dilution of DRAQ7™?

- We recommend that if you dilute DRAQ7™, you use your working solution as soon as possible. Do not store diluted DRAQ7™; the agent is very stable but the dye could be lost from solution since it is formulated for immediate use.

UK, EU and ROW

Email: technical@abcam.com | Tel: +44-(0)1223-696000

Austria

Email: wissenschaftlicherdienst@abcam.com | Tel: 019-288-259

France

Email: supportscientifique@abcam.com | Tel: 01-46-94-62-96

Germany

Email: wissenschaftlicherdienst@abcam.com | Tel: 030-896-779-154

Spain

Email: soportecientifico@abcam.com | Tel: 911-146-554

Switzerland

Email: technical@abcam.com

Tel (Deutsch): 0435-016-424 | Tel (Français): 0615-000-530

US and Latin America

Email: us.technical@abcam.com | Tel: 888-77-ABCAM (22226)

Canada

Email: ca.technical@abcam.com | Tel: 877-749-8807

China and Asia Pacific

Email: hk.technical@abcam.com | Tel: 108008523689 (中國聯通)

Japan

Email: technical@abcam.co.jp | Tel: +81-(0)3-6231-0940

Copyright © 2014 Abcam, All Rights Reserved. The Abcam logo is a registered trademark.

All information / detail is correct at time of going to print.

www.abcam.com | www.abcam.cn | www.abcam.co.jp