Ab155901 Creatine Kinase Activity Assay Kit (Colorimetric)

For accurate measurement of creatine kinase activity in a variety of biological samples.

This product is for research use only and is not intended for diagnostic use.

PLEASE NOTE: With the acquisition of BioVision by Abcam, we have made some changes to component names and packaging to better align with our global standards as we work towards environmental-friendly and efficient growth. You are receiving the same high-quality products as always, with no changes to specifications or protocols.

# Storage and stability

Store kit at -20ºC in the dark immediately upon receipt. Kit has a storage time of 1 year from receipt, providing components have not been reconstituted.

Aliquot components in working volumes before storing at the recommended temperature. Reconstituted components are stable for 2 months.

# Materials supplied

| Item | Amount | Storage Condition (Before Preparation) | Storage Condition (After Preparation) |
| --- | --- | --- | --- |
| Assay Buffer XX/CK Assay Buffer | 25 mL | -20°C | -20°C |
| Creatine/CK Substrate | 1 mL | -20°C | -20°C |
| ATP I/ATP (Lyophilized) | 1 vial | -20°C | -20°C |
| CK Enzyme Mix (Lyophilized) | 1 vial | -20°C | -20°C |
| Developer Solution III/CK Developer (Lyophilized) | 1 vial | -20°C | -20°C |
| NADH Standard I/NADH Standard (Lyophilized) | 1 vial | -20°C | -20°C |
| Active Creatine Kinase/Positive Control (Lyophilized) | 1 vial | -20°C | -20°C |

# Materials required, not supplied

These materials are not included in the kit, but will be required to successfully perform this assay:

- Microplate reader capable of measuring absorbance at OD 450 nm

- MilliQ water or other type of double distilled water (ddH2O)

- Pipettes and pipette tips, including multi-channel pipette

- Assorted glassware for the preparation of reagents and buffer solutions

- Tubes for the preparation of reagents and buffer solutions

- 96 well plate with clear flat bottom

- Dounce homogenizer (if using tissue)

- (Optional) 10 kD Spin Columns (ab93349) – to remove small molecules from sample

# Reagent preparation

- Briefly centrifuge small vials at low speed prior to opening

- Assay Buffer XX/CK Assay Buffer: Ready to use. Equilibrate to room temperature before use. Store at -20°C.

- Creatine/CK Substrate: Ready to use. If necessary, warm in 37°C water bath to dissolve any precipitate, then vortex to mix thoroughly. Aliquot substrate so that you have enough to perform the desired number of assays. Store at -20°C.

- ATP I/ATP: Reconstitute with 220 µL dH2O. Pipette up and down to dissolve completely. Aliquot ATP I/ATP so that you have enough to perform the desired number of assays. Store at -20°C. Use within 2 months.

- CK Enzyme Mix: Reconstitute with 220 µL Assay Buffer XX/CK Assay Buffer. Pipette up and down to dissolve completely. Aliquot enzyme mix so that you have enough to perform the desired number of assays. Store at -20°C. Avoid repeated freeze/thaw cycles. Keep on ice whilst in use.

- Developer Solution III/CK Developer: Reconstitute with 220 µL ddH2O. Pipette up and down to dissolve completely. Aliquot developer so that you have enough to perform the desired number of assays. Store at -20°C. Use within 2 months.

- NADH Standard I/NADH Standard: Reconstitute with 50 µL Assay Buffer XX/CK Assay Buffer to generate 10 mM (10.0 nmol/μL) NADH Standard solution. Aliquot standard so that you have enough to perform the desired number of assays. Store at -20°C. Keep on ice while in use.

- Active Creatine Kinase/Positive Control: Reconstitute with 200 µL Assay Buffer XX/CK Assay Buffer to generate 10 mU/µL stock and mix thoroughly. Aliquot positive control so that you have enough to perform the desired number of assays. Store at -20°C.

# Standard preparation

- Always prepare a fresh set of standards for every use.

- Diluted standard solution is unstable and must be prepared immediately prior use. Do not store for future use.

- Prepare 1mM of NADH Standard by adding 10 µL of 10 mM NADH Standard to 90 µL Assay Buffer.

- Using 1 mM standard, prepare standard curve dilution as described below in a microplate or microcentrifuge tubes:

| Standard # | Volume of NADH Standard (µL) | Assay Buffer (µL) | Final volume standard in well (µL) | End Conc in well (nmol/well) |
| --- | --- | --- | --- | --- |
| 1 | 0 | 150 | 50 | 0 |
| 2 | 6 | 144 | 50 | 2 |
| 3 | 12 | 138 | 50 | 4 |
| 4 | 18 | 132 | 50 | 6 |
| 5 | 24 | 126 | 50 | 8 |
| 6 | 30 | 120 | 50 | 10 |

Each dilution has enough amount of standard to set up duplicate readings (2 x 50 µL).

Sample preparation

General Sample Information

- We suggest performing several dilutions to ensure readings are within the standard value range.

- We recommend that you use fresh samples. If you cannot perform the assay at the same time, we suggest that you complete the Sample Preparation step before storing the samples. If that is not possible, snap freeze samples in liquid nitrogen upon extraction and store immediately at -80°C. When you are ready to test your samples, thaw them on ice. Be aware however that this might affect the stability of your samples and the readings can be lower than expected.

- Cell (adherent or suspension) samples:

- Harvest amount of cells necessary for each assay (initial recommendation = 2 x 106 cells).

- Wash cells with cold PBS and resuspend cells in 100 µL ice cold Assay Buffer XX/CK Assay Buffer.

- Homogenize cells quickly by pipetting up and down a few times.

- Centrifuge sample for 5 minutes at 4°C at top speed using a cold microcentrifuge to remove any insoluble material.

- Collect supernatant and transfer to a new tube and keep on ice.

- Tissue samples:

- Harvest the amount of tissue necessary for each assay (initial recommendation = 10 mg).

- Wash tissue in cold PBS and resuspend tissue in 100 µL of ice cold Assay Buffer XX/CK Assay Buffer.

- Homogenize tissue with a Dounce homogenizer sitting on ice, with 10 – 15 passes.

- Centrifuge samples for 2 – 5 minutes at 4°C at top speed using a cold microcentrifuge to remove any insoluble material.

- Collect supernatant and transfer to a new tube and keep on ice.

- Tissue samples (liver, for example) may contain small molecules such as ADP or NADH that generate background. Remove these molecules from sample by using a 10kD Spin Column (ab93349).

- Plasma and Serum samples:

Plasma and serum samples can be tested directly by adding sample to the microplate wells.

NOTE: We suggest using different volumes of sample to ensure readings are within the Standard Curve range.

# Assay procedure

- Equilibrate all materials and prepared reagents to correct temperature prior to use.

- We recommended to assay all standards, controls and samples in duplicate.

- Plate Loading:

Standard wells = 50 µL standard dilutions

Sample wells = 1 – 50 µL samples (adjust volume to 50 µL/well with Assay Buffer XX/CK Assay Buffer).

Sample Background control wells= 1 - 50 µL samples (adjust volume to 50 µL/well Assay Buffer XX/CK Assay Buffer). We recommend including a Sample Background control well for each sample tested.

Positive control = 2 - 10 µL Positive control (adjust volume to 50 µL/well with Assay Buffer XX/CK Assay Buffer).

- Reaction Mix:

- Prepare 50 µL of Reaction Mix for each reaction. Mix enough reagents for the number of assays (samples and controls) to be performed. Prepare a master mix of the Reaction Mix to ensure consistency. We recommend the following calculation:

- X µL component x (Number reactions +1).

| Components | Reaction Mix (µL) | Background Reaction Mix (µL) |
| --- | --- | --- |
| Assay Buffer XX/CK Assay Buffer | 34 | 36 |
| CK Enzyme Mix | 2 | 0 |
| Developer Solution III/CK Developer | 2 | 2 |
| ATP I/ATP | 2 | 2 |
| Creatine/CK Substrate | 10 | 10 |

- Add 50 µL of Reaction Mix into each standard, sample and positive control sample wells and mix well.

- Add 50 µL of Background Reaction Mix to Background control sample well and mix well.

- Plate Measurement:

- Measure output at OD 450 nm on a microplate reader in a kinetic mode, every 1 – 2 minutes, for at least 10 – 40 minutes at 37°C protected from light. Most reactions will occur within the first 10 minutes.

NOTE: Incubation time depends on the Creatine Kinase (CK) Activity in the samples. We recommend measuring OD in a kinetic mode, and choosing two time points (T1 and T2) in the linear range (OD values A1 and A2 respectively) to calculate the CK activity of the samples.

For standard curve, do not subtract A2 from A1. Standard curve can also be read in end point mode (i.e. at the end of incubation time).

# Calculations

- Samples producing signals greater than that of the highest standard should be further diluted in appropriate buffer and reanalyzed, then multiply the concentration found by the appropriate dilution factor.

- Subtract the mean absorbance value of the blank (Standard #1) from all standard and sample readings. This is the corrected absorbance.

- Standard curve calculation:

- Average the duplicate reading for each standard.

- Plot standard curve readings and draw the line of the best fit to construct the standard curve. Calculate the trend line equation based on your standard curve data (use the equation that provides the most accurate fit).

- Measurement of CK activity in sample:

- Calculate OD for sample as follows:

- ΔOD450nm = (A2 – A2BG) – (A1 – A1BG)

- A1 is the sample reading at time T1.

- A1BG is the background control sample at time T1.

- A2 is the sample reading at time T2.

- A2BG is the background control sample at time T2.

- Use the ΔOD450nm to calculate amount of NADH generated by CK during the reaction time (ΔT).

- CK activity (nmol/min/mL or mU/mL) in the test samples is calculated as:

CK Activity=B∆Tx V*D

B = Amount of NADH in sample well calculated from standard curve (nmol).

T = Reaction time (minutes).

V = Original sample volume added into the reaction well (mL).

D = Sample dilution factor.

CK activity can also be expressed as U/mg of total protein in the sample.

Unit CK activity = amount of CK that will generate 1.0 µmol of NADH per min at pH 9.0 at 37°C.

# Troubleshooting

| Problem | Cause | Solution |
| --- | --- | --- |
| Assay not working | Use of ice-cold buffer | Buffers must be at room temperature |
|  | Plate read at incorrect wavelength | Check the wavelength and filter settings of instrument |
|  | Use of a different 96-well plate | Colorimetric: Clear plates Fluorometric: black wells/clear bottom plate |
| Sample with erratic readings | Samples not deproteinized (if indicated on protocol) | Use provided protocol for deproteinization |
|  | Cells/tissue samples not homogenized completely | Use Dounce homogenizer, increase number of strokes |
|  | Samples used after multiple free/ thaw cycles | Aliquot and freeze samples if needed to use multiple times |
|  | Use of old or inappropriately stored samples | Use fresh samples or store at - 80°C (after snap freeze in liquid nitrogen) till use |
|  | Presence of interfering substance in the sample | Check protocol for interfering substances; deproteinize samples |
| Lower/ Higher readings in samples and Standards | Improperly thawed components | Thaw all components completely and mix gently before use |
|  | Allowing reagents to sit for extended times on ice | Always thaw and prepare fresh reaction mix before use |
|  | Incorrect incubation times or temperatures | Verify correct incubation times and temperatures in protocol |
| Standard readings do not follow a linear pattern | Pipetting errors in standard or reaction mix | Avoid pipetting small volumes (< 5 µL) and prepare a master mix whenever possible |
|  | Air bubbles formed in well | Pipette gently against the wall of the tubes |
|  | Standard stock is at incorrect concentration | Always refer to dilutions described in the protocol |
| Unanticipated results | Measured at incorrect wavelength | Check equipment and filter setting |
|  | Samples contain interfering substances | Troubleshoot if it interferes with the kit |
|  | Sample readings above/ below the linear range | Concentrate/ Dilute sample so it is within the linear range |

# FAQs

Which protein assay is compatible with this kit?

We suggest you use a detergent compatible BCA assay kit, such as BCA Protein Quantification Kit (ab102536).

What is the sample volume to be used with this kit for plasma samples from rat?

This depends on the amount of active CK enzyme in the sample. The sample volume per well would need to be optimized to make sure that the values obtained are within the linear range of the standard curve.

Technical Support

Copyright © 2023 Abcam. All Rights Reserved. The Abcam logo is a registered trademark. All information / detail is correct at time of going to print.

For all technical or commercial enquiries please go to:

www.abcam.com/contactus

www.abcam.cn/contactus (China)

www.abcam.co.jp/contactus (Japan)