Version 3a, Last updated 9 June 2023

# ab239724 # Actin Polymerization/Depolymerization Assay Kit

For the detection of Actin in various biological samples.

This product is for research use only and is not intended for diagnostic use.

PLEASE NOTE: With the acquisition of BioVision by Abcam, we have made some changes to component names and packaging to better align with our global standards as we work towards environmental-friendly and efficient growth. You are receiving the same high-quality products as always, with no changes to specifications or protocols.

Table of Contents

1.	Overview	3

2.	Protocol Summary	4

3.	General guidelines, precautions, and troubleshooting	5

4.	Materials Supplied, and Storage and Stability	5

5.	Materials Required, Not Supplied	5

6.	Reagent Preparation	6

7.	Assay Procedure	7

8.	Data Analysis	9

9.	Typical Data	10

11.	Notes	11

Overview

Actin Polymerization/Depolymerization Assay Kit (ab239724) can be used to study the effect of different compounds, proteins and tissue extracts on Actin polymerization and depolymerization.

The kit utilizes a proprietary Pyrene-labeled Actin molecule that develops a higher fluorescent signal if it undergoes polymerization. The signal can be easily detected using a fluorescence microplate reader. The assay is simple, high- throughput compatible, and can be completed in less than three hours.

Samples: Protein, Tissue Extracts, Compounds/Chemotherapeutic Agents.

Protocol Summary

Actin polymerization assay

Prepare all controls and samples according to the protocol.

Mix well and incubate for 15 minutes.

Add 10 µL of Supplemented Buffer G and 10 µL of Supplemented Buffer P to the background and positive control respectively.

Measure Fluorescence Ex/Em: 365/410 nm

Actin Depolymerization assay

Prepare all controls and samples according to the protocol

Incubate the plate at room temperature for one hour to polymerize Actin protected from light

For the negative control add 10 µL of the solvent of test sample/ Supplemented Buffer G.

Measure Fluorescence Ex/Em: 365/410 nm

General guidelines, precautions, and troubleshooting

Please observe safe laboratory practice and consult the safety datasheet.

For general guidelines, precautions, limitations on the use of our assay kits and general assay troubleshooting tips, particularly for first time users, please consult our guide: www.abcam.com/assaykitguidelines

For typical data produced using the assay, please see the assay kit datasheet on our website.

Materials Supplied, and Storage and Stability

Store kit at -20°C in the dark immediately upon receipt and check below in Section 6 for storage for individual components. Kit can be stored for 1 year from receipt, if components have not been reconstituted.

Aliquot components in working volumes before storing at the recommended temperature.

| Item | Quantity | Storage condition |
| --- | --- | --- |
| Buffer G | 20 mL | -20°C |
| 10X Buffer P/Buffer P (10X) | 1.5 mL | -20°C |
| Labelled Rabbit Muscle Actin/Labeled Rabbit Muscle Actin | 4 vials | -20°C |
| ATP Stock (100 mM)/ATP (100 mM) | 2 x 100 μl | -20°C |

Materials Required, Not Supplied

These materials are not included in the kit, but will be required to successfully perform this assay:

96-well plate with flat bottom; clear or opaque bottoms are both acceptable. Black-walled plates are recommended for this assay

Multi-well spectrophotometer

DTT

Reagent Preparation

Before using the kit, spin tubes and bring down all components to the bottom of tubes.

Prepare only as much reagent as is needed on the day of the experiment.

Buffer G:

Store at -20°C. Supplement Buffer G with 0.2 mM ATP and 0.5 mM DTT (For example: add 2 μl of ATP Stock (100mM)/100 mM ATP, and 5 μl of 100 mM DTT to 993 μl of Buffer G). Prepare as needed. (DTT is not provided).

10X Buffer P/Buffer P (10X):

Store at -20°C. Supplement Buffer P with 10 mM ATP (for example: add 10 μl of ATP Stock (100mM)/100 mM ATP per 90 μl of 10X Buffer P). Avoid multiple freeze thaw cycles. Prepare as needed.

Labelled Rabbit Muscle Actin/Labeled Rabbit Muscle Actin:

Store at -20°C. Keep the tubes in dark to avoid photobleaching. Reconstitute vial as needed.

Before experiment, reconstitute the contents of one vial with 500 μl of supplemented Buffer G. 

After reconstitution, keep the tube on ice for 1 hour. Once re-constituted, Actin can be flash frozen and saved at -80C up to 1 week.

Stored actin may lose activity by 30%. Use lyophilized Actin within three months. Avoid multiple freeze thaws.

ATP Stock (100mM)/ATP (100 mM):

Ready to use. Store at -20º C. Thaw and aliquot before use. Avoid multiple freeze thaw cycles.

Assay Procedure

Actin Polymerization Assay:

Δ Note:  Avoid exposing labeled Actin to light for extended periods of time. Protect labeled actin from light.

Δ Note: Actin Polymerization/Depolymerization experiments use Buffer G supplemented with ATP and Buffer P supplemented with ATP (See Section 6; Reagent Preparation). For brevity, these buffers will be referred as Supp. Buffer G and Supp. Buffer P respectively.

Prepare sample background, positive and sample on a black 96-well microplate following the table below:

|  | Sample Background control | Positve Control | Sample |
| --- | --- | --- | --- |
| Supp. Buffer G | 70 µL | 70 µL | 60 µL |
| Actin | 20 µL | 20 µL | 20 µL |
| Test sample | - | - | 10 µL |

Mix well. Incubate microplate for 15 mins, or preferred incubation time based on your protocols at room temperature.

After incubation, For Background Control: add 10 μl of Supp. Buffer G; For Positive Control and Sample Test: add 10 μl of Supp. 10X Buffer P/Buffer P (10X) to each well containing samples and positive control. Mix and then start data acquisition (see step 3).

Δ Note: If the initial signal is too high, incubate on ice in dark for 1 hour.

Actin Depolymerization Assay:

First, to make polymerized Actin (F Actin), incubate Actin, Supp. Buffer P, Supp. Buffer G, test sample(s) based on the following table:

|  | Negetive control | Sample |
| --- | --- | --- |
| Supp. 10X Buffer G | 60 µL | 60 µL |
| Supp. 10X Buffer P (10X) | 10 µL | 10 µL |
| Actin | 20 µL | - µL |

Incubate the plate at room temperature for one hour to polymerize Actin protected from light. To make sure that the polymerization is complete, you can take a measurement after 1 hour.

For Negative Control: add 10 μl of the solvent of test sample/Supp. Buffer G. For Sample: add 10 μl of test sample, start data acquisition (see step 3).

Measurement

Measure Fluorescence Ex/Em: 365/410 nm in kinetic mode for 1 hr. at room temperature.

Choose two time points (tFINAL& tINITIAL) in the linear range of the plot and obtain the corresponding values for the fluorescence (RFUFINAL and RFUINITIAL).

For Actin Polymerization assay calculate (RFUFINAL - RFUINITIAL)/Δt and for Actin Depolymerization assay calculate (RFUINITIAL – RFUFINAL)/Δt.

Data Analysis

To calculate the effect of test sample on Actin polymerization and/or Actin depolymerization, calculate ΔRFUP, ΔRFUG and ΔRFUS as indicated in the following equations:

ΔRFUG = Generated fluorescence of Actin in presence of Buffer G (monomeric actin)

ΔRFUp = Generated fluorescence of Actin in presence of Buffer P (polymeric actin)

ΔRFUs = Generated fluorescence of Actin with test sample

Percentage Activation Effect=∆RFUs∆RFUp ×100

Percentage Inhibition Effect=∆RFUs∆RFUG ×100

Typical Data

Typical data provided for demonstration purposes only.

Figure 1. Actin Polymerization is induced by Buffer P. The process is inhibited by Latrunculin A (23 μM). Assays were performed following the kit protocol. Note: Latrunculin A is Actin polymerization inhibitor in vitro and in vivo by the formation of a 1:1 complex with monomeric G-actin. Latrunculin A acts a depolymerization agent acting on Actin filaments (Factin).

Figure 2. Polymerized Actin is depolymerized by Latrunculin A (23 μM). Assays were performed following the kit protocol. Note: Latrunculin A is Actin polymerization inhibitor in vitro and in vivo by the formation of a 1:1 complex with monomeric G-actin. Latrunculin A acts a depolymerization agent acting on Actin filaments (Factin).

Notes

# Technical Support

Copyright © 2023 Abcam. All Rights Reserved. The Abcam logo is a registered trademark. All information / detail is correct at time of going to print.

For all technical or commercial enquiries please go to:

www.abcam.com/contactus

www.abcam.cn/contactus (China)

www.abcam.co.jp/contactus (Japan)