Version 2a, Last updated 12 June 2023

# ab241031 # Monoamine Oxidase (MAO) Assay Kit

View Monoamine Oxidase (MAO) Assay Kit datasheet:

www.abcam.com/ab241031

For the measurement of total MAO, MAO-A and MAO-B activity in various biological samples.

This product is for research use only and is not intended for diagnostic use.

PLEASE NOTE: With the acquisition of BioVision by Abcam, we have made some changes to component names and packaging to better align with our global standards as we work towards environmental-friendly and efficient growth. You are receiving the same high-quality products as always, with no changes to specifications or protocols.

Table of Contents

1.	Overview	3

2.	Materials Supplied and Storage	4

3.	Materials Required, Not Supplied	5

4.	General guidelines, precautions, and troubleshooting	6

5.	Reagent Preparation	7

6.	Standard Preparation	8

7.	Sample Preparation	9

8.	Assay Procedure	10

9.	Data Analysis	12

10.	Typical Data	13

11.	Notes	15

Overview

Monoamine Oxidase (MAO) Assay Kit (ab241031) is a sensitive assay to detect total monoamine oxidase activity as well as MAO-A and MAO-B isoenzyme activities separately in the presence of Clorgyline and Selegiline - specific inhibitors for MAO-A and MAOB, respectively. The assay is based on the fluorometric detection of H2O2, one of the by-products generated during the oxidative deamination of the MAO substrate (Tyramine). The assay can detect as little as 5 µU of MAO enzymatic activity.

Prepare samples, controls and standards as described.

Add buffer, MAO-B Inhibitor or MAO-A inhibitors to samples in order to measure total MAO, MAO-A or MAO-B activity, respectively.

Add samples and MAO-A Positive Control/Positive Control to MAO Reaction Mix. Add background control samples to Background Reaction Mix.

Measure fluorescence (Ex/Em = 535/587 nm) in kinetic mode at 25°C for 60 minutes.

Materials Supplied and Storage

Store kit at -20°C in the dark immediately on receipt and check below for storage for individual components. Kit can be stored for 1 year from receipt, if components have not been reconstituted.

Reconstituted components are stable for 2 months.

Aliquot components in working volumes before storing at the recommended temperature.

Avoid repeated freeze-thaws of reagents.

| Item | Quantity | Storage temperature (before prep) | Storage temperature (after prep) |
| --- | --- | --- | --- |
| Assay Buffer XVIII/MAO Assay Buffer | 25 mL | -20°C or 4°C | N/A |
| OxiRed Probe/Probe (in DMSO) | 220 µL | -20°C | N/A |
| MAO Substrate | 1 Vial | -20°C | -20°C |
| Developer Solution V/Developer | 1 Vial | -20°C | -20°C |
| MAO-A Positive Control/Positive Control (MAO-A Enzyme) | 1 Vial | -20°C | -70°C |
| MAO-A Inhibitor/MAO-A Inhibitor (Clorgyline) | 1 Vial | -20°C | -20°C |
| MAO-B Inhibitor/MAO-B Inhibitor (Selegiline) | 1 Vial | -20°C | -20°C |
| H2O2 Standard/H2O2 Standard (0.88 M) | 100 µL | -20°C | 4°C |

Materials Required, Not Supplied

These materials are not included in the kit, but will be required to successfully perform this assay:

- Microplate reader capable of measuring fluorescence at Ex/Em = 535/587 nm

- 96 well black plate with flat bottom

- Dounce homogenizer (for tissue samples)

- For tissue samples we recommend Protease Inhibitor Cocktail II (ab201116) [AEBSF, aprotinin, E-64, EDTA, leupeptin] as general use cocktail.

General guidelines, precautions, and troubleshooting

Please observe safe laboratory practice and consult the safety datasheet.

For general guidelines, precautions, limitations on the use of our assay kits and general assay troubleshooting tips, particularly for first time users, please consult our guide: www.abcam.com/assaykitguidelines

For typical data produced using the assay, please see the assay kit datasheet on our website.

Reagent Preparation

Briefly centrifuge small vials at low speed prior to opening.

Assay Buffer XVIII/MAO Assay Buffer

- Ready to use as supplied. Warm Assay Buffer to room temperature before use. Store at 4°C or -20°C.

OxiRed Probe/Probe

- Ready to use as supplied. Warm to room temperature before use. Protect from light & moisture. Store at -20°C. Use within two months.

MAO Substrate

- Reconstitute with 110 µL ddH2O to generate a 100 mM solution. Store at -20°C. Stable for two months.

Developer Solution V/Developer

- Reconstitute with 220 µL of Assay Buffer XVIII/MAO Assay Buffer. Mix well. Store at -20°C. Stable for two months.

MAO-A Positive Control/Positive Control (MAO-A Enzyme)

- Reconstitute with 20 µL Assay Buffer XVIII/MAO Assay Buffer. Mix well. Store at -70°C. Stable for two months.

MAO-A Inhibitor/MAO-A Inhibitor (Clorgyline)

- Reconstitute with 250 µL ddH2O to make a stock solution of 2 mM. Mix well. Make a 10 µM working solution by adding 5 µL of the 2 mM stock solution into 995 µL ddH2O. Store the stock solution at -20°C. Stable for two months. Inhibitor working solution can be stored at 4°C to use within 24 hours.

MAO-B Inhibitor/MAO-B Inhibitor (Selegiline)

- Reconstitute with 250 µL ddH2O to make a stock solution of 2 mM. Mix well. Make a 10 µM working solution by adding 5 µL of the 2 mM stock solution into 995 µL ddH2O. Store the stock solution at -20°C. Stable for two months. Inhibitor working solution can be stored at 4°C to use within 24 hours.

H2O2 Standard

- Ready to use as supplied. Bring to room temperature before use. After thawing, store at 4°C. Use within two months.

Standard Preparation

- Always prepare a fresh set of standards for every use.

- Discard working standard dilutions after use as they do not store well.

- Dilute H2O2 Standard to 10 mM by adding 10 µL of 0.88 M Standard into 870 µL ddH2O.

- Further dilute to 0.1 mM by adding 10 µL of 10 mM H2O2 Standard into 990 µL ddH2O.

- Add 0, 2, 4, 6, 8 and 10 µL of 0.1 mM H2O2 Standard into a series of wells in 96-well plate to generate 0, 200, 400, 600, 800, and 1000 pmol/well H2O2 Standard. Adjust the volume to 50 µL/well with Assay Buffer XVIII/MAO Assay Buffer.

| Standard# | 0.1 mM H2O2 Standard (µL) | Assay Buffer XVIII/MAO Assay Buffer (µL) | Final volume standard in well (µL) | H2O2 in well (pmol/well) |
| --- | --- | --- | --- | --- |
| 1 | 0 | 50 | 50 | 0 |
| 2 | 2 | 48 | 50 | 200 |
| 3 | 4 | 46 | 50 | 400 |
| 4 | 6 | 44 | 50 | 600 |
| 5 | 8 | 42 | 50 | 800 |
| 6 | 10 | 40 | 50 | 1000 |

ΔNote: Dilute H2O2 Standard just before use. Diluted H2O2 is unstable.

Sample Preparation

General sample information:

We recommend performing several dilutions of your sample to ensure the readings are within the standard value range.

We recommend that you use fresh samples for the most reproducible assay.

For tissue samples we recommend Protease Inhibitor Cocktail II (ab201116) [AEBSF, aprotinin, E-64, EDTA, leupeptin] as general use cocktail.

Biological fluids (e.g. serum, plasma):

- Biological fluids may be assayed directly.

Mammalian tissues and cell lines:

- Homogenize tissue / cells (1-10 mg) using Assay Buffer XVIII/MAO Assay Buffer (0.1 mg/µL).

- Centrifuge the homogenate (10,000 X g for 10 minutes at 4°C).

- Collect the supernatant and keep on ice while in use.

Assay Procedure

- Equilibrate all materials and prepared reagents to room temperature just prior to use and gently agitate.

- Assay all standards, controls and samples in duplicate.

Measurement of total MAO, MAO-A and MAO-B activities:

- To measure total MAO activity, add 1-40 µL of supernatant into desired well(s) in a 96-well plate and adjust the volume to 50 µL/well with Assay Buffer XVIII/MAO Assay Buffer

- To measure MAO-A activity, add 1-40 µL of supernatant and 10 µL of 10 µM Selegiline working solution. Adjust the volume to 50 µL/well with Assay Buffer XVIII/MAO Assay Buffer.

- To measure MAO-B activity, add 1-40 µL of supernatant and 10 µL of 10 µM Clorgyline working solution. Adjust the volume to 50 µL/well with Assay Buffer XVIII/MAO Assay Buffer.

- ΔNote: For unknown samples, we suggest doing a pilot experiment & testing several dilutions to ensure the readings are within the Standard Curve linear range.

- ΔNote: For samples having H2O2 background, prepare parallel sample well(s) as background control.

Positive Control:

- For Positive Control(s), add 1-4 µL MAO-A Positive Control/Positive Control solution into desired well(s) and adjust the volume to 50 µL/well with Assay Buffer XVIII/MAO Assay Buffer.

- Incubate the plate for 10 minutes at 25°C.

- ΔNote: Dilute Positive Control just before use. Do not store the diluted Positive Control.

MAO Reaction mix:

- Prepare 50 µL of MAO Reaction Mix and Background Mix for each reaction. Prepare a master mix to ensure consistency.

| Component | Reaction Mix (µL) | Background Reaction Mix (µL) |
| --- | --- | --- |
| Assay Buffer XVIII/MAO Assay Buffer | 47 | 48 |
| Developer Solution V/Developer | 1 | 1 |
| MAO Substrate | 1 | - |
| OxiRed Probe/Probe | 1 | 1 |

- Add 50 µL of Reaction Mix into each standard, sample, and positive control well.

- Add 50 µL of Background Reaction Mix into the background control sample wells.

Measurement:

- Measure fluorescence (Ex/Em = 535/587 nm) in kinetic mode at 25°C for 60 minutes.

Data Analysis

Samples producing signals greater than that of the highest standard should be further diluted in appropriate buffer and reanalyzed, then multiply the concentration found by the appropriate dilution factor.

- Average the duplicate reading for each standard, control and sample.

- Subtract 0 Standard reading from all readings.

- Plot the corrected values for each standard as a function of the final concentration of H2O2.

- If sample background control reading is high, subtract the sample background control reading from sample reading.

- Calculate Total MAO, MAO-A and MAO-B activity of the test sample(s): ΔRFU = RFU2 -RFU1.

- Apply the ΔRFU to the H2O2 Standard Curve to get B pmol of H2O2 generated by MAOs during the reaction time (ΔT = T2- T1).

- Calculate total MOA(MAO-T)/MAO-A/MAO-B activity by using the following equation:

Sample MAO activity (A)=B(ΔT*V) *D

Where:

A = Total MAO/MAO-A/MAO-B activity in pmol/minute/mL = µU/mL

B = amount of H2O2  in the sample well calculated from standard curve in pmol.

V = sample volume added in the sample wells (mL).

D = sample dilution factor if sample is diluted to fit within the standard curve range (prior to reaction well set up).

Unit Definition: One unit of MAO activity is the amount of enzyme that generates 1.0 µmol of H2O2 per minute at 25°C

MAO specific activity can also be expressed as µU/mg of protein.

Typical Data

Data provided for demonstration purposes only.

Figure 1.  H2O2 Standard Curve.

Figure 2.  MAO-T, MAO-A and MAO-B activities in mouse brain lysate (2.5 µg).

Figure 3.  Specific activities of MAO-A and MAO-B.

Notes

Technical Support

Copyright © 2023 Abcam. All Rights Reserved. The Abcam logo is a registered trademark. All information / detail is correct at time of going to print.

For all technical or commercial enquiries please go to:

www.abcam.com/contactus

www.abcam.cn/contactus (China)

www.abcam.co.jp/contactus (Japan)