ab284520 – alpha-Glucosidase Inhibitor Screening Kit (Colorimetric)

For the screening/characterizing α-Glucosidase inhibitors.
For research use only - not intended for diagnostic use.

For overview, typical data and additional information please visit: http://www.abcam.com/ab284520

PLEASE NOTE: With the acquisition of BioVision by Abcam, we have made some changes to component names and packaging to better align with our global standards as we work towards environmental-friendly and efficient growth. You are receiving the same high-quality products as always, with no changes to specifications or protocols.

Introduction

α-Glucosidase (EC 3.2.1.20) is localized in the brush border of the small intestine and is responsible for the enzymatic hydrolysis of 1,4- linked polysaccharides, producing glucose as one of the main products. Due to the vital role of glucose as one of the main sources of energy in eukaryotes, α-Glucosidase is a target for the modulation of postprandial hyperglycemia. α-Gluosidase Inhibitors (AGIs) such as Acarbose, Miglitol and Voglibose are anti-diabetic medicines that help to reduce post-meal blood glucose levels by arresting glucose absorption in the gastrointestinal tract. In addition, recent research is also focused on the discovery of natural products that could act as α-Glucosidase Inhibitors. The α-Glucosidase Inhibitor Screening Kit (ab284520) (K938) can be used to screen potential inhibitors of this enzyme. It utilizes the ability of an active α-Glucosidase to cleave a synthetic substrate thus, releasing a chromophore (OD: 410 nm). In the presence of an α-Glucosidase specific inhibitor, the enzymatic activity is greatly reduced which is detected by a decrease of absorbance readings.

Storage and Stability

On receipt entire assay kit should be stored at -20°C, protected from light.

Materials Supplied

| Item | Quantity | Storage Condition |
| --- | --- | --- |
| α-Glucosidase Assay Buffer | 25 mL | -20ºC |
| α-Glucosidase Substrate Mix | 300 µL | -20ºC |
| α-Glucosidase Positive Control/α-Glucosidase | 1 vial | -20ºC |
| Acarbose | 140 µL | -20ºC |

Materials Required, Not Supplied

These materials are not included in the kit, but will be required to successfully utilize this assay:

- Temperature-controlled plate reader

- 96-well clear plate with flat bottom, UV transparent plate is preferred.

Reagent Preparation

- Before using the kit, spin the tubes prior to opening.

α-Glucosidase Assay Buffer: Warm to room temperature (RT) before use. Store at 4°C or -20°C.

α-Glucosidase Substrate Mix: Ready to use as supplied. If precipitate is observed, briefly sonicate contents. Store at -20°C.

α-Glucosidase Positive Control/α-Glucosidase: Reconstitute with 100 µL dH2O to prepare stock solution. Aliquot Stock Solution in 10 µL aliquots and store at -20 °C. Use aliquot only once. Once aliquoted use within two months.

Acarbose: Ready to use. Keep on ice while in use. Use within two months.

Assay Protocol

Screening Compounds, Inhibitor Control & Background Control preparations:

Test Samples [S] and Inhibitor Control [IC]:  Dissolve test samples to 100X in a proper solvent. Further dilute to 10X using α-Glucosidase Assay Buffer. Add 10 µL of Diluted test compound, 10 µL of Acarbose into wells of 96-well clear plate designated as test samples [S] or Inhibitor Control [IC], respectively.

Enzyme Control [EC] and Background Control [BC]: Add 10 and 20 µL of α-Glucosidase Assay Buffer into designated well(s) of 96-well clear plate, respectively. IC50 estimation (Optional): prepare several dilutions of candidate(s) in α-Glucosidase Assay Buffer. Add 10 µL of each dilution into designated wells.

Δ Note: Various organic solvents may reduce the α-Glucosidase enzymatic activity. Prepare parallel well(s) as Solvent Control [SC] to test the effect of the solvent on α-Glucosidase activity. If [SC] slope is significantly different when compared to EC, use [SC] values to determine effect of the respective tested compound (see Calculation section).

[S]             [IC]              [EC]             [BC]             [SC]

Test Sample         10 µl                -                  -            -             -

Acarbose             -              10 µl                 -                  -             -

α-Glucosidase Assay Buffer              -                  -                10 µl            20 µl                -

Solvent Control              -                  -                   -                  -                10 µl

- α-Glucosidase Enzyme Solution Preparation:

- Prepare a 20-fold dilution of α-Glucosidase Positive Control/α-Glucosidase (i.e. Dilute of 2 µL of α-Glucosidase Positive Control/α-Glucosidase with 38 µL of α-Glucosidase Assay Buffer), mix thoroughly and keep on ice.

- Add 10 µL of Diluted α-Glucosidase Enzyme Solution to each well containing Test Sample(s) [S], Inhibitor Control [IC], Enzyme Control [EC] and Solvent Control [SC]. Adjust the volume of each well to 80 µL/well with α-Glucosidase Assay Buffer.

- Mix well and incubate at room temperature for 15-20 min. Protect from light.

Δ Note: Do not store Diluted α-Glucosidase Enzyme Solution. Discard unused solution.

- Aldose Reductase Substrate Preparation: Mix enough reagents for the number of assays to be performed. For each well, prepare 20 µL Reaction Mix containing:

|  | Reaction Mix |
| --- | --- |
| α-Glucosidase Assay Buffer | 17 µL |
| α-Glucosidase Substrate Mix | 3 µL |

- Mix & add 20 µL Reaction Mix to test sample(s) [S], Inhibitor Control [IC], Enzyme Control [EC], Solvent Control [SC] and Background Control [BC] wells and mix well.

Measurement

Measure absorbance immediately at OD: 410 nm in kinetic mode for 60 min at room temperature. Choose two time points (t1 & t2) in the linear range of the plot and obtain the corresponding values for the absorbance (OD1 and OD2).

Calculation:

- Calculate the slope for all test samples [S], Enzyme Control [EC], Solvent Control [SC] and Background Control [BC] by dividing the net ∆OD (A2-A1) values with the time ∆t (t2-t1).

- Subtract the Slope of Background Control from [S], [EC] and [SC]. If [SC] slope is significantly different when compared to [EC], use [SC] values to determine effect of tested compound.

% Relative Inhibition = slope of EC-slope of [S]slope of [EC] ×100

% Relative activity = slope of [S]slope of [EC] ×100

Technical Support

Copyright © 2023 Abcam. All Rights Reserved. The Abcam logo is a registered trademark. All information / detail is correct at time of going to print.

For all technical or commercial enquiries please go to:

www.abcam.com/contactus

www.abcam.cn/contactus (China)

www.abcam.co.jp/contactus (Japan)