ab287806 – Kanamycin ELISA Kit

For the quantitative measurement of Kanamycin in Tissue, Milk and milk powder.

For research use only - not intended for diagnostic use.

For overview, typical data and additional information please visit: http://www.abcam.com/ab287806

Storage and Stability

The entire kit may be stored at 4°C for up to 6 months from the date of shipment. Opened kit may be stable for 1 month at 4°C.

Materials Supplied

| Item | Quantity | Storage Condition |
| --- | --- | --- |
| Micro ELISA Plate | 8 x 12 Strips | 4ºC |
| Standard (S0-S5) | 1 mL x 6 | 4ºC |
| HRP-Conjugate | 7 mL | 4ºC |
| Antibody | 7 mL | 4ºC |
| TMB Substrate | 12 mL | 4ºC |
| Stop Solution | 10 mL | 4ºC |
| Sample Diluent | 20 mL | 4ºC |
| 10X Wash Buffer | 30 mL | 4ºC |
| Plate sealers | 4 units | 4ºC |

Materials Required, Not Supplied

These materials are not included in the kit, but will be required to successfully utilize this assay:

- Chemicals: Na2HPO4∙12H2O, NaH2PO4∙2H2O, and Trichloroacetic acid (TCA)

- Microplate reader capable of measuring absorbance at 450 nm

- 25°C incubator

- Precision pipettes with disposable tips

- Distilled or deionized water

- Clean eppendorf tubes and graduated cylinders for preparing standards or sample dilutions

- Absorbent paper

Reagent Preparation

- Bring all reagents to room temperature (20-25°C) 30 minutes before use

- Before using the kit, spin tubes and bring down all components to the bottom of tubes.

Extraction Solution 1: Weigh 5.37 g of Na2HPO4∙12H2O and 0.78 g of NaH2PO4∙2H2O to 100 ml of deionized water, mix thoroughly.

Extraction Solution 2: Dilute 5 ml of Sample Diluent into 95 ml deionized or distilled water, mix well.

Extraction Solution 3:  Dilute 3 g of TCA into 100 ml deionized or distilled water, shake well

Wash Buffer (1X): If crystals have formed in the concentrate, warm up to room temperature and mix gently until the crystals have completely dissolved. Dilute 10 mL of 10X Wash Buffer into 90 mL deionized or distilled water to prepare 100 ml of 1X Wash Buffer. Keep it at 4°C for one month.

Standard Preparation

| Standards | S0 | S1 | S2 | S3 | S4 | S5 |
| --- | --- | --- | --- | --- | --- | --- |
| Concentration (ppb) | 0 | 0.5 | 1.5 | 4.5 | 13.5 | 40.5 |

Sample Preparation

- The prepared sample maybe stored for up to one day at 2-8°C

Milk and Fresh Milk:

- Bring the milk sample to room temperature.

- Transfer 100 μL of sample into a new centrifugal tube and add 900 μL of Extraction Solution 1, shake well.

- Take 50 μL of sample for further analysis.

∆Note: Dilution factor: 10

Milk Powder:

- Weigh 1 g of milk power sample, add 5ml of Extraction Solution 2, shake properly for 5 min.

- Add 4 ml of Extraction Solution 3, shake properly for 5 min. Centrifuge at 4000 rpm for 10 min.

- Transfer 100 μl of supernatant into a new centrifugal tube, add 200 μl of Sample Diluent, shake well.

- Take 50 μLof sample for further analysis.

Δ Note: Dilution factor: 30

Tissue (chicken, pork):

- Weigh 1 g of the homogenized tissue sample, add 10 ml of Extraction Solution 1, shake properly for 5 min. Centrifuge at 4000 rpm for 10 min.

- Take 50 μl of supernatant sample for further analysis

Δ Note: Dilution factor: 10

Assay Procedure

- Bring all reagents and samples to room temperature 30 minutes prior to the assay.

- It is recommended that all standards and samples be run at least in duplicate.

- A standard curve should be run for each assay.

- Prepare all reagents, samples, and standards.

- Add 50 μl of Standard or Sample per well. Then add 50 μl of HRP-conjugate to each well and 50 μl of Antibody to each well. Cover the microtiter plate with a new adhesive strip and mix well, then incubate for 30 min at 25°C.

- Aspirate each well and wash, repeating the process 4 times. Wash by filling each well with 250 μl of Wash Buffer using a squirt bottle, multi-channel pipette, manifold dispenser, or autowasher, and let it stand for 30 seconds, complete removal of liquid at each step is essential to good performance.

- Add 100 μl of TMB Substrate to each well, mix well. Incubate for 15 minutes at 25°C. Protect from light.

- Add 50 μl of Stop Solution to each well, gently tap the plate to ensure thorough mixing.

- Read result at 450 nm within 10 minutes

Calculations

The mean values of the absorbance values obtained for the standards and the samples are divided by the absorbance value of the first standard (zero standard) and multiplied by 100%. The zero standard is thus made equal to 100% and the absorbance values are quoted in percentages.

Absorbance Value (%) = B/B0 X 100%

B: The average absorbance value of the sample or standard

B0 : The average absorbance value of the 0 ppb standard

To draw a standard curve: Take the absorbency value of standards as y-axis, logarithmic of the concentration of the Kanamycin standards solution (ppb) as x-axis. The Kanamycin concentration of each sample (ppb), which can be read from the calibration curve, is multiplied by the corresponding dilution factor of each sample, allowing for the actual concentration of sample to be obtained.

Download our ELISA guide for technical hints, results, calculation, and troubleshooting tips:

www.abcam.com/protocols/the-complete-elisa-guide

For technical support contact information, visit: www.abcam.com/contactus

Copyright © 2023 Abcam, All Rights Reserved. All information / detail is correct at time of going to print. Version 1b | 2023-September-11