ab302935 – Aflatoxin M1 (AFM1) ELISA Kit

For the in vitro quantitative determination of Aflatoxin M1 concentrations in milk, milk powder, and yoghurt.
For research use only - not intended for diagnostic use.

For overview, typical data and additional information please visit:

https://www.abcam.com/ab302935

Storage and Stability

On receipt entire assay kit should be stored at 4 °C for up to 12 months from the date of shipment. Upon opening, use kit within 1 month stored at 4 °C. Do not use the kit beyond the expiration date.

Materials Supplied

| Item | Quantity | Storage Condition |
| --- | --- | --- |
| Assay Plate | 8 X 12 Strips | 4 °C |
| Standard (S0 - S5) | 6 x 1 mL | 4 °C |
| HRP-conjugate | 1 x 7 mL | 4 °C |
| Antibody | 1 x 7 mL | 4 °C |
| Substrate A | 1 x 7 mL | 4 °C |
| Substrate B | 1 x 7 mL | 4 °C |
| Stop Solution | 1 x 7 mL | 4 °C |
| Wash Buffer(20X) | 1 x 40 mL | 4 °C |
| Redissolving solution (10x) | 1 x 50 mL | 4 °C |
| Plate sealers | 4 | 4 °C |

Materials Required, Not Supplied

These materials are not included in the kit, but will be required to successfully utilize this assay:

- Microplate reader capable of measuring absorbance at 450 nm

- An incubator which can provide stable incubation conditions at 25 °C

- Squirt bottle, manifold dispenser, or automated microplate washer.

- Rotary evaporator or nitrogen gas

- Centrifuge, vortex mixer

- Analytical balance, 2 decimal places

- Single channel pipettes (20-200 μL, 100-1000 μL)

- 30 – 300 μL mutlichannel pipette

- Precision pipettes with disposable tips

Precaution

The Stop Solution provided with this kit is an acid solution. Wear eye, hand, face, and clothing protection when using this material.

Δ Note:

- Kindly use graduated containers to prepare the reagent.

  - Bring all reagents to room temperature (20-25°C) before use for 30 min.

    - Only the disposable tips can be used for the experiments and the tips must be changed when used for different reagents.

    - Distilled water is recommended to be used to make the preparation for reagents. Contaminated water or container for reagent preparation will influence the detection result.

Reagent Preparation

Wash Buffer (1x): If crystals have formed in the concentrate, warm up to room temperature and mix gently until the crystals have completely dissolved. Dilute 15 mL of Wash Buffer (20X) into 285 mL deionized or distilled water to prepare 300 mL of Wash Buffer (1X). Keep it at 4 ºC for one month.

Redissolving solution (1X): Take 10 mL of Redissolving Solution (10x) and add 90 mL of distilled or deionized water, mix well.

Δ Note:

- Abcam is only responsible for the kit itself, but not for the samples consumed during the assay. The user should calculate the possible amount of the samples used in the whole test. Please reserve sufficient samples in advance.

- If the samples are not indicated in the manual, a preliminary experiment to determine the validity of the kit is necessary.

- Please predict the concentration before assaying. If values for these are not within the range of the standard curve, users must determine the optimal sample dilutions for their experiments.

Standards Concentration:

| Standards | S0 | S1 | S2 | S3 | S4 | S5 |
| --- | --- | --- | --- | --- | --- | --- |
| Concentration (ppb) | 0 | 0.03 | 0.09 | 0.27 | 0.81 | 2.43 |

Sample Preparation

Milk Bring the milk sample to room temperature. Take 50 μL of sample for further analysis. Dilution factor: 1.

Milk powder Weigh 1.00 ± 0.05 g of the milk power. Add 10 ml of Redissolving solution (1x), vortex for 3 minutes. Centrifuge the above sample at 4000 rpm for 10 minutes at 20 °C. Take 50 μL of sample for further analysis. Dilution factor: 10.

Yoghurt Weigh 100 μL sample, add 900 μL of Redissolving Solution (1x), mix for 30 secs. Take 50 μL of sample for further analysis. Dilution factor of the samples: 10.

Assay Protocol

- Bring all reagents and samples to room temperature 30 minutes prior to the assay.

- Centrifuge the sample again after thawing before the assay.

- It is recommended that all standards and samples be run at least in duplicate.

- Prepare all reagents, samples and standards as instructed in reagent and sample preparation section (above).

- Determine the number of wells and put any remining wells and desiccant back into back into pouch and seal a Ziplock; store unused wells at 4°C.

- Add 50 μl of Standard or Sample per well.

- Add 50 μl of HRP-conjugate to each well and 50 μl of Antibody to each well. Cover the microtiter plate with a new adhesive strip and mix well, then incubate for 30 min at 25°C.

- Aspirate each well and wash, repeating the process 4 times for total of 5 washes. Wash by filling each well with 250 μl of Wash Buffer using a squirt bottle, multi-channel pipette, manifold dispenser, or autowasher, and let it stand for 15-30 seconds. Complete removal of liquid at each step is essential to good performance.

- Add 50 μl of Substrate A and Add 50 μl of Substrate B to each well, mix well. Incubate for 15 minutes at 25°C. Protect from light.

- Add 50 μl of Stop Solution to each well, gently tap the plate to ensure thorough mixing.

- Read result at 450 nm within 5 minutes. Recommend reading the OD value at the dual wavelength: 450/630 nm.

ADDITIONAL INFORMATION

Product recovery rates

| Product type | Recovery Rate |
| --- | --- |
| Milk | 90% ± 25 |
| Milk powder | 100% ± 30 |
| Yoghurt | 100% ± 30 |

Calculation of Results

Compare the sample average absorbance values with standards values, the Aflatoxin M1 concentration in the samples can be concluded.

For example, the absorbance value of sample 1 is 0.3, the absorbance value of sample 2 is 1.0; absorbance values of standard are: 2.243, 1.816, 1.415, 0.74, 0.313, 0.155 and the corresponding concentrations are: 0 ppb, 0.03 ppb, 0.09 ppb, 0.27 ppb, 0.81 ppb, 2.43 ppb.

Then the Aflatoxin M1 in sample 1 and sample 2 are 0.8 - 2.43 ppb and 0.09 - 0.27 ppb.

Lastly the reader is multiplied by the corresponding dilution factor of each sample and the actual concentration of sample is obtained.

Download our ELISA guide for technical hints, results, calculation, and troubleshooting tips:

www.abcam.com/protocols/the-complete-elisa-guide

For technical support contact information, visit: www.abcam.com/contactus

Technical Support

Copyright © 2022 Abcam. All Rights Reserved. The Abcam logo is a registered trademark. All information / detail is correct at time of going to print.

For all technical or commercial enquiries please go to:

www.abcam.com/contactus

www.abcam.cn/contactus (China)

www.abcam.co.jp/contactus (Japan)