ab324120 –  Nitroreductase Assay Kit (Luminometric)

A highly sensitive and convenient method to quantify Nitroreductase (NTR) activity.

For research use only - not intended for diagnostic use.

For overview, typical data and additional information please visit: www.abcam.com/ab324120

Storage and Stability: Store kit at -20ºC in the dark immediately upon receipt. Refer to list of materials supplied for storage conditions of individual components.

Materials Supplied

| Item | Quantity | Storage Condition |
| --- | --- | --- |
| NTR Substrate | 1 vial | -20°C (Store in the dark) |
| NTR Reaction Buffer | 25 mL | -20°C |
| NTR Reaction Enzyme | 1 vial | -20°C |
| NTR Detection Buffer | 5 mL | -20°C |
| NTR Detection Mix 1 | 1 vial | -20°C |
| NTR Detection Mix 2 | 1 vial | -20°C |
| Nitroreductase Standard | 1 vial | -20°C |
| DMSO | 100 µL | -20°C |

Materials Required, Not Supplied

These materials are not included in the kit, but will be required to successfully utilize this assay:

- Luminescence microplate reader

- Solid white plates

- ddH2O

Protocol Summary

- Prepare NTR Substrate stock solution.

- Add NTR standards or NTR test samples (50 µL/well).

- Add NTR Reaction working solution (50 µL/well).

- Incubate for 60 minutes at 37 °C.

- Prepare NTR Detection working solution.

- Add NTR Detection working solution (50 µL/well).

- Monitor luminescence intensity increase immediately.

IMPORTANT: Thaw all kit components at room temperature before

starting the experiment.

Preparation of Stock Solutions

Unless otherwise noted, all unused stock solutions should be divided into single-use aliquots and stored at -20 °C after preparation. Avoid repeated freeze-thaw cycles.

NTR substrate stock solution (100X)

- Add 50 µL of DMSO into the vial of NTR Substrate to make 100X NTR substrate stock solution.

Note: Keep away from light.

NTR Reaction Enzyme stock solution (100X)

- Add 50 µL of NTR Reaction Buffer into the vial of NTR Reaction Enzyme to make 100X NTR Reaction Enzyme stock solution.

Note: Keep away from light.

NTR Detection Mix 1 stock solution (100X)

- Add 50 µL of NTR Detection Buffer into the vial of NTR Detection Mix 1 to make 100X NTR Detection Mix 1 stock solution.

Note: Keep away from light.

Nitroreductase Standard solution (250 µg/mL)

- Add 20 µL of ddH2O into the vial of Nitroreductase Standard to make 250 µg/mL Nitroreductase Standard solution.

Preparation of Standard Solution

Nitroreductase Standard solution

- Add 10 µL of 250 µg/mL Nitroreductase Standard solution to 240 µL of NTR Reaction Buffer to generate 10 µg/mL Nitroreductase standard solution (NS7). Then take 10 µg/mL Nitroreductase standard solution (NS7) and perform 1:3 serial dilutions in NTR Reaction Buffer to get serially diluted Nitroreductase standards (NS2 - NS7).

Note: Diluted NTR standard solution is unstable and should be used within 4 hours.

Preparation of Working Solutions

NTR Reaction working solution

- Add 50 µL of 100X NTR substrate stock and 50 µL of 100X NTR reaction enzyme stock solutions into 5 mL of NTR Reaction Buffer to make a total volume of 5.1 mL NTR Reaction working solution.

Note: Keep away from light.

NTR Detection working solution

- Add 50 µL of 100X Detection Mix 1 and 10 µL of Detection Mix 2 into 5 mL of NTR Detection Buffer to make a total volume of 5.06 mL NTR Detection working solution.

Note: Keep away from light.

Experimental Protocol

| BL | BL | TS | TS |
| --- | --- | --- | --- |
| NS1 | NS1 | … | … |
| NS2 | NS2 | … | … |
| NS3 | NS3 |  |  |
| NS4 | NS4 |  |  |
| NS5 | NS5 |  |  |
| NS6 | NS6 |  |  |
| NS7 | NS7 |  |  |

Table 1. Layout of NTR standards and test samples in a solid white 96-well microplate. NS=NTR standards (NS7-NS1, 0.001 to 10 µg/mL); BL=Blank Control; TS=Test Samples.

| Well | Volume | Reagent |
| --- | --- | --- |
| NS1-NS7 | 50 µL | Serial Dilution (10 to 0.001 µg/mL) |
| BL | 50 µL | NTR Reaction Buffer |
| TS | 50 µL | Test Sample |

Table 2. Reagent composition for each well of a 96-well microplate.

- Prepare NTR standards (NS), blank controls (BL), and test samples (TS) according to the layout provided in Tables 1 and 2. For a 384-well plate, use 12.5 µL of reagent per well instead of 50 µL.

Note: Treat cells or tissue samples as desired.

- Add 50 µL of NTR Reaction working solution to each well of NTR standard, blank control, and test samples. For a 384-well plate, add 12.5 µL of NTR Reaction working solution into each well instead.

- Incubate the reaction for 60 minutes at 37 °C, protected from light.

- Add 50 µL of NTR Detection working solution to each well to make the total assay volume 150 µL/well. For a 384-well plate, add 12.5 µL of Detection working solution into each well instead, for a total volume of 37.5 µL/well.

- Monitor the luminescence increase immediately with a luminescence microplate reader.

For technical support contact information, visit: www.abcam.com/contactus

Copyright © 2025 Abcam, All Rights Reserved. All information / detail is correct at time of going to print.

Version 1 | 2025-05-06